## Environmental
Month | Reference | Name of Report | Due Date
January | 40 CFR 265.174 | Weekly Hazardous Waste Storage Check | Weekly
| TN UST Rule 0400-18-01 | Quarterly UST Dispenser Inspection (Motor Pool) | January 1st
| TN UST Rule 0400-18-01 | UST Veeder Root Report | January 30th
| TN UST Rule 0400-18-01 | UST Monthly Spill Bucket Inspection | January 30th
| 40 CFR Part 82 | Refrigerant Management Inventory | January 30th
| 40 CFR Part 70 & TAPCR 1200 | Monthly Title V Data | January 30th
February | 40 CFR 265.174 | Weekly Hazardous Waste Storage Check | Weekly
| 49 CFR 172.704 & 40 CFR 265.16 | RCRA & HAZMAT DOT Training | February 2nd
| TN UST Rule 0400-18-01 | UST Veeder Root Report | February 27th
| TN UST Rule 0400-18-01 | UST Monthly Spill Bucket Inspection | February 27th
| 40 CFR Part 70 & TAPCR 1200 | Monthly Title V Data | February 27th
| 40 CFR Part 82 | Refrigerant Management Inventory | February 27th
March | 40 CFR Part 370 | Tier II Report (SARA Title III) | March 1st
| TN Rule 0400-12-.01-.03(5)(b) | TDEC Hazardous Waste Generators Report | March 1st
| TN Rule 0400-12-01-.03(6) | Hazardous Waste Reduction Plan | March 1st
| 40 CFR 265.174 | Weekly Hazardous Waste Storage Check | Weekly
| TN UST Rule 0400-18-01 | UST Monthly Spill Bucket Inspection | March 30th
| TN UST Rule 0400-18-01 | UST Veeder Root Report | March 30th
| 40 CFR Part 112 | SPCC Quarterly Inspections | March 31st
| 40 CFR Part 82 | Refrigerant Management Inventory | March 31st
| 40 CFR Part 70 & TAPCR 1200 | Monthly Title V Data | March 31st
April | 40 CFR 265.174 | Weekly Hazardous Waste Storage Check | Weekly
| TN UST Rule 0400-18-01 | Quarterly UST Dispenser Inspection (Motor Pool) | April 1st
| TN UST Rule 0400-18-01 | UST Annual Permits Due | April 1st
| TN UST Rule 0400-18-01 | UST Monthly Spill Bucket Inspection | April 30th
| TN UST Rule 0400-18-01 | UST Veeder Root Report | April 30th
| 40 CFR Part 70 & TAPCR 1200 | Monthly Title V Data | April 30th
| 40 CFR Part 82 | Refrigerant Management Inventory | April 30th
May | 40 CFR Part 70 & TAPCR 1200 | APC Annual Emissions Inventory | May 1st
| Johnson City Ordinance 4063-04 | Annual Review of Illicit Discharge Policy | May 1st
| NA | Major PM's for Emergency Generators | May 1st
| 40 CFR Part 70 & TAPCR 1200 | TAPCD Title V Semiannual Report (Oct-March) | May 30th
| 40 CFR 265.174 | Weekly Hazardous Waste Storage Check | Weekly
| TN UST Rule 0400-18-01 | UST Veeder Root Report | May 30th
| TN UST Rule 0400-18-01 | UST Monthly Spill Bucket Inspection | May 30th
| 40 CFR Part 70 & TAPCR 1200 | TAPCD Title V Annual Compliance Report | May 30th
| 40 CFR Part 70 & TAPCR 1200 | Monthly Title V Data | May 30th
| 40 CFR Part 82 | Refrigerant Management Inventory | May 30th
June | 40 CFR 265.174 | Weekly Hazardous Waste Storage Check | Weekly
| TN Rule 0400-12 | Remediation Offsite Shipping & Generator Fee | June 15th
| TN UST Rule 0400-18-01 | UST Veeder Root Report | June 30th
| TN UST Rule 0400-18-01 | UST Monthly Spill Bucket Inspection | June 30th
| 40 CFR Part 112 | SPCC Quarterly Inspections | June 30th
| 40 CFR Part 70 & TAPCR 1200 | Monthly Title V Data | June 30th
| 40 CFR Part 82 | Refrigerant Management Inventory | June 30th
July | 29 CFR 1910.94 & 1926.57 | Start Chemical Hood Re-Certificatons | July 1st
| TN UST Rule 0400-18-01 | UST Leak Test (annually at Motor Pool) | July 1st
| TN UST Rule 0400-18-01 | Cathodic Protection Test at CEB (every 3 years) | July 1st
| TN UST Rule 0400-18-01 | Quarterly UST Dispenser Inspection (Motor Pool) | July 1st
| TN Rule 0400-11-01-.01(4) | Special Waste Recertification | July 1st
| 40 CFR Part 70 & TAPCR 1200 | TAPCD Title V Allowable Emission Fee | July 1st
| 40 CFR 265.174 | Weekly Hazardous Waste Storage Check | Weekly
| TN UST Rule 0400-18-01 | UST Monthly Spill Bucket Inspection | July 31st
| TN UST Rule 0400-18-01 | UST Veeder Root Report | July 31st
| 40 CFR Part 70 & TAPCR 1200 | Monthly Title V Data | July 31st
| 40 CFR Part 82 | Refrigerant Management Inventory | July 31st
August | 40 CFR 265.174 | Weekly Hazardous Waste Storage Check | Weekly
| 49 CFR Part 172.704 | Annual DOT Hazmat Training | August 1st
| TN UST Rule 0400-18-01 | UST Veeder Root Report | August 31st
| TN UST Rule 0400-18-01 | UST Monthly Spill Bucket Inspection | August 31st
| 40 CFR Part 70 & TAPCR 1200 | Monthly Title V Data | August 31st
| 40 CFR Part 82 | Refrigerant Management Inventory | August 31st
September | 40 CFR 265.174 | Weekly Hazardous Waste Storage Check | Weekly
| TN UST Rule 0400-18-01 | UST Veeder Root Report | September 30th
| TN UST Rule 0400-18-01 | UST Monthly Spill Bucket Inspection | September 30th
| 40 CFR Part 112 | SPCC Quarterly Inspections | September 30th
| 40 CFR Part 70 & TAPCR 1200 | Monthly Title V Data | September 30th
| 40 CFR Part 82 | Refrigerant Management Inventory | September 30th
October | 40 CFR 265.174 | Weekly Hazardous Waste Storage Check | Weekly
| TN UST Rule 0400-18-01 | Quarterly UST Dispenser Inspection (Motor Pool) | October 1st
(March) | TN UST Rule 0400-18-01 | Cathodic Protection Test for 500,000 Water Reservoir | October 1st
| TN UST Rule 0400-18-01 | UST Veeder Root Report | October 31st
| TN UST Rule 0400-18-01 | UST Monthly Spill Bucket Inspection | October 31st
| 40 CFR Part 70 & TAPCR 1200 | Monthly Title V Data | October 31st
| 40 CFR Part 112 | SPCC Annual Training | October 31st
| 40 CFR Part 82 | Refrigerant Management Inventory | October 31st
November | 40 CFR 265.174 | Weekly Hazardous Waste Storage Check | Weekly
| 40 CFR Part 70 & TAPCR 1200 | Valleybrook Annual Emission Fee Due | November 1st
| TN UST Rule 0400-18-01 | UST Veeder Root Report | November 30th
| TN UST Rule 0400-18-01 | UST Monthly Spill Bucket Inspection | November 30th
| 40 CFR Part 70 & TAPCR 1200 | TAPCD Semiannual Report (April-Sept) | November 30th
| 40 CFR Part 70 & TAPCR 1200 | Monthly Title V Data | November 30th
| 40 CFR Part 82 | Refrigerant Management Inventory | November 30th
December | 40 CFR 265.174 | Weekly Hazardous Waste Storage Check | Weekly
| TN UST Rule 0400-18-01 | UST Veeder Root Report | December 31st
| TN UST Rule 0400-18-01 | UST Monthly Spill Bucket Inspection | December 31st
| 40 CFR Part 112 | SPCC Quarterly Inspections | December 31st
| 40 CFR Part 70 & TAPCR 1200 | Monthly Title V Data | December 31st
| 40 CFR Part 82 | Refrigerant Management Inventory | December 31st

## Radiation
Environmental Compliance Report Calendar
Month | Compliance Report | Due Date
January | Quarterly Low Level Waste Report | January 1st
| Annual Dose to the Public | January 1st
| Monthly Radiation Instrument Calibration | January 1st
| Monthly LSC Calibration | January 1st
| Quarterly Sealed Source Inventory (ETSU Heart) | January 1st
| X -Ray Inspections | January 6, 16 & 27
| Semi-Annual Sealed Source Inventory | January 15th
| Quartertly RSO Meeting | January 20th
February | Monthly Radiation Instrument Calibration | February 1st
| Monthly LSC Calibration | February 1st
| X-Ray Inspection | February 4th
| Annual ALARA Report | February 28th
March | Monthly Radiation Instrument Calibration | March 1st
| Monthly LSC Calibration | March 1st
| Quartertly Swipe Tests | March 30th
April | Monthly Radiation Instrument Calibration | April 1st
| Monthly LSC Calibration | April 1st
| Quarterly Low Level Waste Report | April 1st
| Quartertly RSO Meeting | April 20th
| Quarterly Sealed Source Inventory (ETSU Heart) | April 1st
| Semi-Annual Leak Test Hutcheson Lab | April 1st
| Annual Dose Calibrator Work Sheet (ETSU Heart) | April 1st
May | Monthly Radiation Instrument Calibration | May 1st
| Monthly LSC Calibration | May 1st
June | Monthly Radiation Instrument Calibration | June 1st
| Monthly LSC Calibration | June 1st
| ETSU Heart Semi-Annual Leak Test | June 1st
| Quarterly Swipe Tests | June 30th
July | Monthly Radiation Instrument Calibration | July 1st
| Monthly LSC Calibration | July 1st
| Quarterly Low Level Waste Report | July 1st
| Semi Annual Sealed Source Inventory | July 15th
| Quartertly RSO Meeting | July 20th
| Quarterly Sealed Source Inventory (ETSU Heart) | July 1st
August | Monthly Radiation Instrument Calibration | August 1st
| Monthly LSC Calibration | August 1st
| Annual Radiation Safety Audit | August 30th
| Annual Ancillary Radiation Safety Training | August 30th
September | Monthly Radiation Instrument Calibration | September 1st
| Monthly LSC Calibration | September 1st
| Annual Radiation Safety Audit (ETSU Heart) | September 30th
| Annual LSC Calibration Perkin Elmer | September 30th
| Quarterly Swipe Tests | September 30th
October | Monthly Radiation Instrument Calibration | October 1st
| Monthly LSC Calibration | October 1st
| Quarterly Low Level Waste Report | October 1st
| Quartertly RSO Meeting | October 20th
| Quarterly Sealed Source Inventory (ETSU Heart) | October 1st
| Semi-Annual Leak Test Hutcheson Lab | October 1st
November | Monthly Radiation Instrument Calibration | November 1st
| Monthly LSC Calibration | November 1st
December | Monthly Radiation Instrument Calibration | December 1st
| Monthly LSC Calibration | December 1st
| ETSU Heart Semi-Annual Leak Test | December 1st
| Quarterly Swipe Tests | December 30th
| X-Ray Inspections | Dec. 12 and 17th

## Health & Safety
Topic | Regulation | Compliance Report | Due Date | Completed Yes (Y) / No (N)
Asbestos Supervisor Certification | 40 CFR 763 | Joel Kress, Jason Ervin, Chad Head, Zane Gray, Sean Delong | 9/23/2012 (Annually) | Yes
Asbestos Inspector Certification | 40 CFR 763 | Hurley, Barrett, Obrien, Kattesh | 9/24/2012 (Annually) | Yes
Asbestos Physicals | 29 CFR 1910.1001 | Joel Kress, Chad Head, Zane Gray, Sean Delong | 10/1/2012 (Annually) | Yes
Asbestos Training | 29 CFR1910.1001 | Custodial, UH, Shops | Annually-Spring Semester | 2013-01-01
Asbestos AHERA Management Inspections | 40 CFR 763 | Chris Hurley | Every 6 months (Dec. & May) | Yes
Asbestos AHERA Report | 40 CFR 763 | Chris Hurley | Annually before July 9 | Yes
Asbestos AHERA Management Plan | 40 CFR 763 | ES&A | Every 3 years | Yes
Electrical Gloves | 29 CFR 1910.332 | Chris Hurley-Electrical Shops and COM | Every 6 months | Yes
Fume Hoods | ANSI/AIHA/ASHRAE | EH&S | Annually (Summer) | Yes
Hearing Conservation | 29 CFR 1910.95 | Powerhouse, Grounds | Annually (Spring & Fall) | No
Respirator Medical Clearances | 29 CFR 1910.134 | Powerhouse, Shops, EH&S, Asbestos Workers | PRN by Occupational Physician(1-3 years) | In process
Respirator Fit-Test | 29 CFR 1910.134 | Powerhouse, Shops, EH&S, Asbestos Workers | Annually | In process
Confined Space Training | 29 CFR 1910.46 | Powerhouse | Annually (Shutdown) | Yes
Forklift | 29 CFR 1910.178 | Dome Crew, Warehouse, Receiving | Every 3 years or Supervisor Deems necessary | Yes, Warehouse/Receiving Due 12/2012
Emergency Preparedness | 29 CFR 1910.38 | Campus Wide Alerts/Siren Testing | Spring/Summer/Fall | Yes
Bloodborne Pathogens | 29 CFR 1910.103 | Custodial | Annually-Spring Semester | 2013-01-01
On-line Trainings (Haz Com, Lab Safety, Haz Waste, BBP, Fire Ext, Chemistry Safety, Art Safety) | 29 CFR 1910.1200, 1910.145,EPA 40 CFR 271, 1910.1030, 1910.157 | See EH&S Training Matrix | Annually once Department have been registered | Yes
Hazard Communication/Universal Waste | 29 CFR 1910.1200 & TN 0800-1-9/40 CFR 273 | Custodial | Annually-Spring Semester | 2013-01-01
Lead Renovation, Repair Certified Renovator | 40 CFR 745 | Chris Hurley, David Farmer, Chad Head | 2/18/2015 (Every 5 years) | Yes
Lab Safety Inspections | 29 CFR 1910.145 & 1910.1000 | EH&S | May-November (Annually) | Yes
AED's | 52 on Campus | Chris Hurley | Batteries changed PRN (Good for 4 years) | Yes
Update/Review EH&S Policies | Per OSHA | Chris Hurley | 4/2012 (Annually) | Yes
Calibrate Portacount | Manufacturer Guidelines | Chris Hurley | 7/2012 (Annually) | Yes
Air Data Multimeter | Manufacturer Guidelines | Chris Hurley | 1/2012 (Every 2 years) | Yes
Calibrated TSI IAQ Calc | Manufacturer Guidelines | Chris Hurley | 1/1/2012 (Annually) | 2013-01-01

## Fire & Life Safety
Fire & Life Safety Compliance Items | Month Due
Prepare Annual Fire Safety Report | January
Clean exhaust hoods at Culp & UH | January
Test exhaust hood suppression systems | January
Check monthly Fire & Life Safety Reports | January
Check monthly Attachment B & E PM's | January
Check monthly Housing Inspection & Fire Drill Reports | January
Check weekly fire pump test reports | January
Check monthly Fire & Life Safety Reports | February
Check monthly Attachment B & E PM's | February
Check monthly Housing Inspection & Fire Drill Reports | February
Check weekly fire pump test reports | February
Check monthly Fire & Life Safety Reports | March
Check monthly Attachment B & E PM's | March
Check monthly Housing Inspection & Fire Drill Reports | March
Check weekly fire pump test reports | March
Quarterly cleaning of Culp Char Grill | April
Begin annual fire drills | April
Check monthly Fire & Life Safety Reports | April
Check monthly Attachment B & E PM's | April
Check monthly Housing Inspection & Fire Drill Reports | April
Check weekly fire pump test reports | April
Begin annual sprinkler system testing | May
Begin annual fire alarm testing | May
Get quotes for exhaust hood cleaning | May
Get quotes for fire pump testing | May
Check monthly Fire & Life Safety Reports | May
Check monthly Attachment B & E PM's | May
Check monthly Housing Inspection & Fire Drill Reports | May
Check weekly fire pump test reports | May
Re-apply MIC inhibitor at VA bldg. 178 | June | RE
Check monthly Fire & Life Safety Reports | June
Check monthly Attachment B & E PM's | June
Check monthly Housing Inspection & Fire Drill Reports | June
Check weekly fire pump test reports | June
Begin fire extinguisher inspections | July
Clean exhaust hoods at Culp & UH | July
Test exhaust hood suppression systems | July
Check monthly Fire & Life Safety Reports | July
Check monthly Attachment B & E PM's | July
Check monthly Housing Inspection & Fire Drill Reports | July
Check weekly fire pump test reports | July
Test fire pumps | August
Check monthly Fire & Life Safety Reports | August
Check monthly Attachment B & E PM's | August
Check monthly Housing Inspection & Fire Drill Reports | August
Check weekly fire pump test reports | August
Check monthly Fire & Life Safety Reports | September
Check monthly Attachment B & E PM's | September
Check monthly Housing Inspection & Fire Drill Reports | September
Check weekly fire pump test reports | September
Quarterly cleaning of Culp Char Grill | October
Check monthly Fire & Life Safety Reports | October
Check monthly Attachment B & E PM's | October
Check monthly Housing Inspection & Fire Drill Reports | October
Check weekly fire pump test reports | October
Check monthly Fire & Life Safety Reports | November
Check monthly Attachment B & E PM's | November
Check monthly Housing Inspection & Fire Drill Reports | November
Check weekly fire pump test reports | November
Check monthly Fire & Life Safety Reports | December
Check monthly Attachment B & E PM's | December
Check monthly Housing Inspection & Fire Drill Reports | December
Check weekly fire pump test reports | December