## SDG Checklist
O - Owner
D - Designer
C - Contractor
Sustainable Design Guidelines
CHECKLIST / TRACKING FORM | [6 empty] | Project Title:
SBC No:
24 Points |  |  |  | Total: | 0 | 0 | 0
TN SDG | Credit | O/D/C | A. Land Management | Level: Optional Recommended Required | Yes | Maybe | No | Comment: Describe how each required and recommended credit below is being pursued on this project. If recommended or optional credits not pursued, describe in detail the reasons why not.
1 | 1.02-A-1-a | O | Re-use Existing Buildings | Optional
1 | 1.02-A-1-b | O | Site Selection - Show preference for building on developed sites. Preserve land classified as farmland or habitat, wetlands, and floodplains | Recommended
1 | 1.02-A-1-c | O | Brownfield Redevelopment - Remediate/restore contaminated/brownfield sites when possible | Optional
1 | 1.02-A-1-d | D | Building Orientation - Orient building on site for maximum solar use | Recommended
1 | 1.02-A-1-e | O | Urban Development - Locate building within existing infrastructure | Recommended
1 | 1.02-A-2-a | C | Site Disturbance - Erosion and sediment control during construction | Required
1 | 1.02-A-2-b | D | Site Disturbance - Limit site disturbance during construction to minimum development footprint | Required
1 | 1.02-A-3-a | O | Transportation - Plan for access to public transportation | Optional
1 | 1.02-A-3-b | D | Transportation - Provide bicycle storage for 5% and shower/changing facilities for 0.5% of the building occupants | Optional
1 | 1.02-A-3-c | D | Transportation - Plan site to include preferred parking for carpooling for 5% of all parking spaces | Optional
1 | 1.02-A-3-c | D | Transportation - Plan site to include preferred parking for alternative fuel vehicles for 5% of all parking spaces | Optional
1 | 1.02-A-4-a | D | Landscape Design - Maximize vegetated open space | Optional
1 | 1.02-A-4-b | D | Landscape Design - Native and climate-tolerant planting | Required
1 | 1.02-A-5-a | D | Heat Island Reduction - Site surface reflectivity and shading | Recommended
1 | 1.02-A-5-b | D | Heat Island Reduction - Reflective or vegetated roof surfaces | Optional
1 | 1.02-A-6-a | D | Stormwater Design - Post-development discharge rate not to exceed pre-development rate | Recommended
1 | 1.02-A-6-b | D | Stormwater Design - Reduce discharge rate 25% on previously developed sites. | Recommended
1 | 1.02-A-6-c | D | Stormwater Design - Design to remove 80% Total Suspended Solids from the first inch of rain per each rainfall event. Verify local requirements. | Recommended
1 | 1.02-A-6-d | D | Stormwater Design - Design per TDEC BMP References | Required
1 | 1.02-A-7-a | D | Exterior Site Lighting - Design exterior power densities not to exceed ASHRAE 90.1-2007 | Optional
1 |  | D | Exterior Site Lighting - Design building façade lighting to be 50% less than power densities defined by ASHRAE 90.1-2007 | Optional
1 | 1.02-A-7-b | D | Exterior Site Lighting - Locate fixtures to minimize illuminance above the horizontal plane and to minimize light trespass at site boundary | Recommended
1 | 1.02-A-7-c | D | Exterior Site Lighting - Design using "cutoff" and "full cutoff" styles to minimize 90 degree directional light. | Recommended
1 | 1.02-A-7-d | D | Exterior Site Lighting - Locate exterior fixtures to minimize light trespass at site boundary | Recommended
6 Points |  |  |  |  | 0 | 0 | 0
TN SDG | Credit | O/D/C | B. Water Efficiency | Level: Optional Recommended Required | Yes | Maybe | No | Comment: Describe how each required and recommended credit below is being pursued on this project. If recommended or optional credits not pursued, describe in detail the reasons why not.
1 | 1.02-B-1-a | D | Wastewater Treatment & Conveyance: On-site treatment | Optional
1 | 1.02-B-1-b | D | Wastewater Treatment & Conveyance: Use of non-potable water | Optional
1 | 1.02-B-2-a | D | Water Use Reduction - Fixture flow rates | Required
1 | 1.02-B-2-b | D | Water Use Reduction - Use of auto-flow/auto-flush valves | Optional
1 |  | D | Water Efficient Landscaping, Non-potable sources or no irrigation | Recommended
1 | 1.02-B-2-c | D | Water Efficient Landscaping, Utilize efficient irrigation technologies and planting measures | Required
18 Points |  |  |  |  | 0 | 0 | 0
TN SDG | Credit | O/D/C | C. Energy Efficiency and Atmosphere Protection | Level: Optional Recommended Required | Yes | Maybe | No | Comment: Describe how each required and recommended credit below is being pursued on this project. If recommended or optional credits not pursued, describe in detail the reasons why not.
1 | 1.02-C-1-a | O | Commissioning - Determine commissioning scope appropriate to project | Required
1 | 1.02-C-1-b | O | Commissioning - Basic commissioning process | Required
1 | 1.02-C-1-c | O | Commissioning - Enhanced commissioning process | Recommended
1 | 1.02-C-2-a | D | Energy Efficiency of Building Systems - Meet mandatory and prescriptive requirements of ASHRAE Standard 90.1-2007 | Required
1 | 1.02-C-2-b | D | Energy Efficiency of Building Systems - Conceptual Energy Modeling | Required
8 | 1.02-C-2-c | O | Energy Efficiency of Building Systems - Perform full comparison energy model to demonstrate compliance with ASHRAE Standard 90.1-2007 | Optional
1 | 1.02-C-3-a-i | D | Refrigerant management - No CFCs | Required
1 | 1.02-C-3-a-ii | O | Refrigerant management - HCFCs and HFCs requirements | Recommended
1 | 1.02-C-4 | D | Instrumentation and Measurement - Install instrumentation to monitor building energy use | Optional
1 | 1.02-C-5 | O | Onsite Renewable Energy - Evaluate on-site renewable energy opportunities | Optional
1 | 1.02-C-6 | O | Green Power - Provide 35% from grid source renewable energy or 10% through TVA's Green Power Switch program | Optional
8 Points |  |  |  |  | 0 | 0 | 0
TN SDG | Credit | O/D/C | D. Material and Resource Use | Level: Optional Recommended Required | Yes | Maybe | No | Comment: Describe how each required and recommended credit below is being pursued on this project. If recommended or optional credits not pursued, describe in detail the reasons why not.
1 | 1.02-D-1 | O | Recyclable Collection & Storage | Required
2 | 1.02-D-2 | C | Construction Waste Management | Recommended
1 | 1.02-D-3-a | D | Sustainable Materials: Recycled Content 5% | Required
1 | 1.02-D-3-a | D | Sustainable Materials: Recycled Content 10% | Optional
1 | 1.02-D-3-b | D | Sustainable Materials: Rapidly renewable materials | Optional
1 | 1.02-D-3-c | D | Sustainable Materials: FSC certified wood | Optional
1 | 1.02-D-3-d | D | Sustainable Materials: Salvaged materials | Optional
19 Points |  |  |  |  | 0 | 0 | 0
TN SDG | Credit | O/D/C | E. Indoor Environmental Quality | Level: Optional Recommended Required | Yes | Maybe | No | Comment: Describe how each required and recommended credit below is being pursued on this project. If recommended or optional credits not pursued, describe in detail the reasons why not.
1 | 1.02-E-1 | O | Non-Smoking Facilities | Required
1 | 1.02-E-2 | D | Ventilation: Design to meet ASHRAE 62.1-2007 | Required
1 | 1.02-E-3-a | D | Outdoor Air Delivery Monitoring: Monitor mechanical delivery rate with an accuracy of 15% | Optional
1 | 1.02-E-3-b | D | CO2 Monitoring: Provide CO2 monitors in all densely occupied spaces | Optional
1 | 1.02-E-4 | C | Air Quality Management: During construction | Recommended
1 | 1.02-E-5 | D | Air Quality Management: Before occupancy | Optional
1 | 1.02-E-6-b-i - iv | D | Material VOC Limits: Adhesives and sealants | Required
1 | 1.02-E-6-b-v | D | Material VOC Limits: Paints | Required
1 | 1.02-E-6-b-vi,vii | D | Material VOC Limits: Anti-corrosives and coatings | Required
1 | 1.02-E-6-c | D | Material VOC Limits: Carpets | Required
1 | 1.02-E-6-d | D | Material VOC Limits: Composite wood and agrifiber | Required
1 | 1.02-E-7-a | D | Pollutant Control: Entryway systems | Required
1 | 1.02-E-7-b | D | Pollutant Control: Hazardous material storage exhaust | Required
1 | 1.02-E-7-c | D | Pollutant Control: Filtration media | Recommended
1 | 1.02-E-8 | D | Thermal Comfort: Meet ASHRAE Standard 55-2004 | Required
1 | 1.02-E-9-a | D | Occupant System Controls: Thermal Comfort | Recommended
1 | 1.02-E-9-b | D | Occupant System Controls: Lighting Controls | Optional
1 | 1.02-E-10 | D | Daylight to Occupied spaces | Recommended
1 | 1.02-E-11 | D | Views from Occupied spaces | Recommended
5 Points |  |  |  |  | 0 | 0 | 0
TN SDG | Credit | O/D/C | F. Tennessee Advancement | Level: Optional Recommended Required | Yes | Maybe | No | Comment: Describe how each required and recommended credit below is being pursued on this project. If recommended or optional credits not pursued, describe in detail the reasons why not.
1 | 1.02-F-1 | D | Innovation in Design: Provide Specific Title | Optional
1 | 1.02-F-1 | D | Innovation in Design: Provide Specific Title | Optional
1 | 1.02-F-1 | D | Innovation in Design: Provide Specific Title | Optional
1 | 1.02-F-1 | D | Innovation in Design: Provide Specific Title | Optional
1 | 1.02-F-2 | D | Environmentally Accredited Design Team | Recommended
80 Points |  |  |  |  | 0 | 0 | 0

## Sign-Off
Project Close-Out and Credit Verification Form
|  | Sustainable Design Guidelines |  |  | SDG Points Achieved
|  | In accordance with the State Architect's office, a copy of this form must accompany required Project Closeout documents. Acceptance by the State Project Manager is required upon review of completed Credit Verification Form. |  |  | 0
Project Title:
| (O/D/C) | SBC No: |  |  | Date
O
|  | State Project Manager: [Insert Name Here] Sign Above |  |  | Date Above
D
|  | Designer: [Insert Name Here] Sign Above |  |  | Date Above
C
|  | Contractor: [Insert Name Here] Sign Above |  |  | Date Above
TN SDG | Credit | A. Land Management | Credit Level | O/D/C | Sign-Off (O/D/C)
0 | 1.02-A-1-a | Re-use Existing Buildings | Optional | O | N/A
0 | 1.02-A-1-b | Site Selection - Show preference for building on developed sites. Preserve land classified as farmland or habitat, wetlands, and floodplains | Recommended | O | N/A
0 | 1.02-A-1-c | Brownfield Redevelopment - Remediate/restore contaminated/brownfield sites when possible | Optional | O | N/A
0 | 1.02-A-1-d | Building Orientation - Orient building on site for maximum solar use | Recommended | D | N/A
0 | 1.02-A-1-e | Urban Development - Locate building within existing infrastructure | Recommended | O | N/A
0 | 1.02-A-2-a | Site Disturbance - Erosion and sediment control during construction | Required | C | N/A
0 | 1.02-A-2-b | Site Disturbance - Limit site disturbance during construction to minimum development footprint | Required | D | N/A
0 | 1.02-A-3-a | Transportation - Plan for access to public transportation | Optional | O | N/A
0 | 1.02-A-3-b | Transportation - Provide bicycle storage for 5% and shower/changing facilities for 0.5% of the building occupants | Optional | D | N/A
0 | 1.02-A-3-c | Transportation - Plan site to include preferred parking for carpooling for 5% of all parking spaces | Optional | D | N/A
0 | 1.02-A-3-c | Transportation - Plan site to include preferred parking for alternative fuel vehicles for 5% of all parking spaces | Optional | D | N/A
0 | 1.02-A-4-a | Landscape Design - Maximize vegetated open space | Optional | D | N/A
0 | 1.02-A-4-b | Landscape Design - Native and climate-tolerant planting | Required | D | N/A
0 | 1.02-A-5-a | Heat Island Reduction - Site surface reflectivity and shading | Recommended | D | N/A
0 | 1.02-A-5-b | Heat Island Reduction - Reflective or vegetated roof surfaces | Optional | D | N/A
0 | 1.02-A-6-a | Stormwater Design - Post-development discharge rate not to exceed pre-development rate | Recommended | D | N/A
0 | 1.02-A-6-b | Stormwater Design - Reduce discharge rate 25% on previously developed sites. | Recommended | D | N/A
0 | 1.02-A-6-c | Stormwater Design - Design to remove 80% Total Suspended Solids from the first inch of rain per each rainfall event. Verify local requirements. | Recommended | D | N/A
0 | 1.02-A-6-d | Stormwater Design - Design per TDEC BMP References | Required | D | N/A
0 | 1.02-A-7-a | Exterior Site Lighting - Design exterior power densities not to exceed ASHRAE 90.1-2007 | Optional | D | N/A
0 | 0 | Exterior Site Lighting - Design building façade lighting to be 50% less than power densities defined by ASHRAE 90.1-2007 | Optional | D | N/A
0 | 1.02-A-7-b | Exterior Site Lighting - Locate fixtures to minimize illuminance above the horizontal plane and to minimize light trespass at site boundary | Recommended | D | N/A
0 | 1.02-A-7-c | Exterior Site Lighting - Design using "cutoff" and "full cutoff" styles to minimize 90 degree directional light. | Recommended |  | N/A
0 | 1.02-A-7-d | Exterior Site Lighting - Locate exterior fixtures to minimize light trespass at site boundary | Recommended | D | N/A
TN SDG | Credit | B. Water Efficiency | Credit Level | O/D/C | Sign-Off
0 | 1.02-B-1-a | Wastewater Treatment & Conveyance: On-site treatment | Optional | D | N/A
0 | 1.02-B-1-b | Wastewater Treatment & Conveyance: Use of non-potable water | Optional | D | N/A
0 | 1.02-B-2-a | Water Use Reduction - Fixture flow rates | Required | D | N/A
0 | 1.02-B-2-b | Water Use Reduction - Use of auto-flow/auto-flush valves | Optional | D | N/A
0 | 0 | Water Efficient Landscaping, Non-potable sources or no irrigation | Recommended | D | N/A
0 | 1.02-B-2-c | Water Efficient Landscaping, Utilize efficient irrigation technologies and planting measures | Required | D | N/A
TN SDG | Credit | C. Energy Efficiency and Atmosphere Protection | Credit Level | O/D/C | Sign-Off
0 | 1.02-C-1-a | Commissioning - Determine commissioning scope appropriate to project | Required | O | N/A
0 | 1.02-C-1-b | Commissioning - Basic commissioning process | Required | O | N/A
0 | 1.02-C-1-c | Commissioning - Enhanced commissioning process | Recommended | O | N/A
0 | 1.02-C-2-a | Energy Efficiency of Building Systems - Meet mandatory and prescriptive requirements of ASHRAE Standard 90.1-2007 | Required | D | N/A
0 | 1.02-C-2-b | Energy Efficiency of Building Systems - Conceptual Energy Modeling | Required | D | N/A
0 | 1.02-C-2-c | Energy Efficiency of Building Systems - Perform full comparison energy model to demonstrate compliance with ASHRAE Standard 90.1-2007 | Optional | O | N/A
0 | 1.02-C-3-a-i | Refrigerant management - No CFCs | Required | D | N/A
0 | 1.02-C-3-a-ii | Refrigerant management - HCFCs and HFCs requirements | Recommended | O | N/A
0 | 1.02-C-4 | Instrumentation and Measurement - Install instrumentation to monitor building energy use | Optional | D | N/A
0 | 1.02-C-5 | Onsite Renewable Energy - Evaluate on-site renewable energy opportunities | Optional | O | N/A
0 | 1.02-C-6 | Green Power - Provide 35% from grid source renewable energy or 10% through TVA's Green Power Switch program | Optional | O | N/A
TN SDG | Credit | D. Material and Resource Use | Credit Level | O/D/C | Sign-Off
0 | 1.02-D-1 | Recyclable Collection & Storage | Required | O | N/A
0 | 1.02-D-2 | Construction Waste Management | Recommended | C | N/A
0 | 1.02-D-3-a | Sustainable Materials: Recycled Content 5% | Required | D | N/A
0 | 1.02-D-3-a | Sustainable Materials: Recycled Content 10% | Optional | D | N/A
0 | 1.02-D-3-b | Sustainable Materials: Rapidly renewable materials | Optional | D | N/A
0 | 1.02-D-3-c | Sustainable Materials: FSC certified wood | Optional | D | N/A
0 | 1.02-D-3-d | Sustainable Materials: Salvaged materials | Optional | D | N/A
TN SDG | Credit | E. Indoor Environmental Quality | Credit Level | O/D/C | Sign-Off
0 | 1.02-E-1 | Non-Smoking Facilities | Required | O | N/A
0 | 1.02-E-2 | Ventilation: Design to meet ASHRAE 62.1-2007 | Required | D | N/A
0 | 1.02-E-3-a | Outdoor Air Delivery Monitoring: Monitor mechanical delivery rate with an accuracy of 15% | Optional | D | N/A
0 | 1.02-E-3-b | CO2 Monitoring: Provide CO2 monitors in all densely occupied spaces | Optional | D | N/A
0 | 1.02-E-4 | Air Quality Management: During construction | Recommended | C | N/A
0 | 1.02-E-5 | Air Quality Management: Before occupancy | Optional | D | N/A
0 | 1.02-E-6-b-i - iv | Material VOC Limits: Adhesives and sealants | Required | D | N/A
0 | 1.02-E-6-b-v | Material VOC Limits: Paints | Required | D | N/A
0 | 1.02-E-6-b-vi,vii | Material VOC Limits: Anti-corrosives and coatings | Required | D | N/A
0 | 1.02-E-6-c | Material VOC Limits: Carpets | Required | D | N/A
0 | 1.02-E-6-d | Material VOC Limits: Composite wood and agrifiber | Required | D | N/A
0 | 1.02-E-7-a | Pollutant Control: Entryway systems | Required | D | N/A
0 | 1.02-E-7-b | Pollutant Control: Hazardous material storage exhaust | Required | D | N/A
0 | 1.02-E-7-c | Pollutant Control: Filtration media | Recommended | D | N/A
0 | 1.02-E-8 | Thermal Comfort: Meet ASHRAE Standard 55-2004 | Required | D | N/A
0 | 1.02-E-9-a | Occupant System Controls: Thermal Comfort | Recommended | D | N/A
0 | 1.02-E-9-b | Occupant System Controls: Lighting Controls | Optional | D | N/A
0 | 1.02-E-10 | Daylight to Occupied spaces | Recommended | D | N/A
0 | 1.02-E-11 | Views from Occupied spaces | Recommended | D | N/A
TN SDG | Credit | F. Tennessee Advancement | Credit Level | O/D/C | Sign-Off
0 | 1.02-F-1 | Innovation in Design: Provide Specific Title | Optional | O | N/A
0 | 1.02-F-1 | Innovation in Design: Provide Specific Title | Optional | D | N/A
0 | 1.02-F-1 | Innovation in Design: Provide Specific Title | Optional | D | N/A
0 | 1.02-F-1 | Innovation in Design: Provide Specific Title | Optional | D | N/A
0 | 1.02-F-2 | Environmentally Accredited Design Team | Recommended | D | N/A
0 | Total SDG Points Achieved by Project
Note on F20: Project Team Member initials will populate from the Initials cell.

## RM - Instructions
Refrigerant Management - Calculator Instructions
Purpose
As referenced in the TN Sustainable Design Guidelines (SDG), this calculation tool determines whether the HVAC equipment-and-refrigerant combinations in a prospective project comply with the requirements of the SDG for multiple pieces of equipment. For a building with a single unit (e.g. one chiller to serve the whole building) this calculator may be used, but the table in the SDG provides a simple metric (lb/ton of refrigerant charge) for compliance. Only evaluate HVAC equipment with a refrigerant charge of 0.5lbs or greater.
How to use the calculator
NOTE: You may only enter values in orange-colored cells. All other entries either are calculated automatically or are fixed values.
1. Choose the Input Calculator worksheet.
2. OPTIONAL: Enter the appropriate unit tag(s) from the project equipment schedule in cell(s) B5 through G5.
3. OPTIONAL: Modify the values in the tables in the "Table" worksheet if the equipment for the project varies from the default values for 'leakage rate' or 'end of life refrigerant loss.' Documentation from the equipment manufacturer is required to justify any changes to default values.
4. Enter the refrigerant type in cell(s) B6 through G6. Selecting the refrigerant type automatically inserts the appropriate GWP and ODP values from the Table in rows 14 and 15, respectively.
5. Enter the equipment type in cell(s) B7 through G7. Selecting the equipment type automatically inserts the appropriate equipment life value(s) from the LEED-NC v2.2 Reference Guide in row 12.
6. For each refrigerant type and equipment type, enter the HVAC mechanical cooling capacity (in tons) in cell(s) B8 through G8. If multiple units use the same refrigerant type, enter the sum of their capacities.
7. For each refrigerant type/equipment type combination, enter the HVAC refrigerant charge (in pounds) in cell(s) B9 through G9. If multiple units of the same equipment type use the same refrigerant type, enter the sum of their refrigerant charges in pounds.
The project complies with the SDG if the value in cell H21 is less than or equal to 100 and “Yes” is displayed in cell H22.
The project does not comply with the SDG credit if the value in cell H21 is greater than 100 and “No” is displayed in cell H22.

## RM - Calculator
Refrigerant Management - Calculator
Unit tag(s) | [6 empty] | All
Refrigerant type | [6 empty] | Qtotal
Equipment type
Capacity, tons (Qunit) | 0 | 0 | 0 | 0 | 0 | 0 | 0
Refrigerant charge, lb |  | 0 | 0 | 0 | 0 | 0
Refrigerant charge, lb/ton (Rc) | 0 | 0 | 0 | 0 | 0 | 0
Leak rate, % of charge per year (Lr) | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Equipment life (Life) | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
End-of-life refrigerant loss, % of charge (Mr) | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Global warming potential of refrigerant (GWPr) | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Ozone depletion potential of refrigerant (ODPr) | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Life-cycle direct global warming potential (LCGWP) | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Life-cycle ozone depletion potential (LCODP) | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
TSAC factor | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
TSAC factor × capacity | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
|  |  |  | Weighted calculation |  |  | 100.1
[6 empty] | Credit? | No
Ammonia | Absorption chiller
Carbon dioxide | Centrifugal chiller
Propane | Packaged AC or HP
R-123 | Reciprocating chiller
R-134a | Screw chiller
R-22 | Scroll chiller
R-245fa | Split-system AC or HP
R-404A | Unitary AC or HP
R-407c | Window AC or HP
R-410a
R-507A
Water
Note on B6: Select refrigerant type from pull down menu
Note on B7: Select equipment type from pull down menu

## RM - Types
Refrigerant Management - Types
Equipment type | Life
Absorption chiller | 23
Centrifugal chiller | 23
Packaged AC or HP | 15
Reciprocating chiller | 20
Screw chiller | 23
Scroll chiller | 20
Split-system AC or HP | 15
Unitary AC or HP | 15
Window AC or HP | 10
Refrigerant type | GWPr | ODPr | Ann Lk % | EOL Loss %
Ammonia | 0 | 0 | 2% | 10%
Carbon dioxide | 1 | 0 | 2% | 10%
Propane | 3 | 0 | 2% | 10%
R-123 | 76 | 0.02 | 2% | 10%
R-134a | 1320 | 0 | 2% | 10%
R-22 | 1780 | 0.04 | 2% | 10%
R-245fa | 1020 | 0 | 2% | 10%
R-404A | 3900 | 0 | 2% | 10%
R-407c | 1700 | 0 | 2% | 10%
R-410a | 1890 | 0 | 2% | 10%
R-507A | 3900 | 0 | 2% | 10%
Water | 0 | 0 | 2% | 10%

## MR - Calculator
Materials and Resources Calculator
Instructions
Complete the table below with construction materials items, their associated costs, and percent by weight or volume of recycled content.
Materials Table
Description of Material |  | Total Construction Cost | Labor Cost | Equipment Cost | Material Cost (Less Labor & Equipment) | Resource Reuse | Recycled Content |  |  | Rapidly Renewable Materials | New Wood-Based Materials | Certified Wood
[7 empty] | Post- Consumer | Pre-Consumer | Value
|  | [$] | [$] | [$] | [$] | [$] | [%] | [%] | [$] | [$] | [$] | [$]
Division
03 | CONCRETE
04 | MASONRY
05 | METALS
06 | WOOD, PLASTICS & COMPOSITES
07 | THERMAL / MOISTURE PROTECTION
08 | DOORS & WINDOWS (OPENINGS)
09 | FINISHES
10 | SPECIALTIES
| TOTAL | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
Resource Reuse Percentage | [5 empty] | #DIV/0!
Percentage of Recycled Content | [5 empty] | #DIV/0!
Amount of Rapidly Renewable Materials Percentage | [5 empty] | #DIV/0!
Certified Wood Percentage | [5 empty] | #DIV/0!

## DL - Instructions
Daylight and Views Calculator
Requirements
Daylight: Achieve a minimum Daylight Factor of 2% (excluding all direct sunlight penetration) in 75% of all space occupied for critical visual tasks, not including copy rooms, storage areas, mechanical, laundry, and other low occupancy support areas. Exceptions include those spaces where tasks would be hindered by the use of daylight or where accomplishing the specific tasks within a space would be enhanced by the direct penetration of sunlight.
Views: Direct line of sight to vision glazing from 90% of all regularly occupied spaces, not including copy rooms, storage areas, mechanical, laundry, and other low occupancy support areas.
Instructions
Note: Orange-colored cells are to be completed by Design Team.
1. First, list all regularly-occupied rooms and their associated square footages. Add rows by the Insert/Rows command between the existing rows. For each room, list each window geometry and the associated glazing area, transmittance, and window height factor. Window areas of the same geometry in the same room may be added together. The calculation may require substantial modification to fit a particular project; therefore, refer to the intent of the credit when modifying the spreadsheet. See the Sustainable Design Guide for more information on how to determine access to views. Finally, designate the glare control used for each window geometry using the corresponding letter or letters from the Glare Control Chart. The table automatically calculates the daylight factor for each room.
2. Compare the amount of daylit area to the requirement listed above to determine if the project can qualify for the credit.
3. Using the drawings, highlight those areas in each room from which a direct line of sight through a clear glazed window (mounted on the vertical wall plane) is possible. Consider any obstruction by the wall thickness when figuring views at oblique angles. Window areas below 2’6” and above 7’6” (including daylight glazing, skylights, and roof monitors) do not qualify for the credit. Visually compare the highlighted areas of each room. In rooms that appear close to the required 90%, measure the area highlighted and compare this to the total square footage of that room. For those rooms that reach 90%, insert the TOTAL square footage for the room in Column L. When determining eligible rooms, consider any planned or anticipated tenant improvement permanent walls that will be in place for initial occupancy.
4. Compare the amount of area with sufficient views to the SDG requirement listed above to determine if the project can qualify for the credit.

## DL - Calculator
Daylight and Views Calculator
Glare Control Chart |  |  |  |  | Window Geometry Table
Type | Description |  |  |  | Window Type |  |  | Geometry Factor | Minimum Tvis | Height Factor | Best Practice Glare Control
1 | Fixed exterior shading devices |  |  |  |  | Sidelighting Daylight Glazing |  | 0.1 | 0.7 | 1.4 | Adjustible Blinds Interior light shelves Fixed transluscent exterior shading devices
2 | Light shelf, exterior
3 | Light shelf, interior |  |  |  |  | Sidelighting Vision Glazing |  | 0.1 | 0.4 | 0.8 | Adjustible Blinds Exterior shading devices
4 | Interior blinds
5 | Pull-down shades |  |  |  |  | Toplighting Vertical Monitor |  | 0.2 | 0.4 | 1 | Fixed interior Adjustible exterior blinds
6 | Fritted glazing
7 | Drapes |  |  |  |  | Toplighting Sawtooth Monitor |  | 0.33 | 0.4 | 1 | Fixed interior Exterior louvers
8 | Electronic black-out glazing
[6 empty] | Toplighting Horizontal Skylights |  | 0.5 | 0.4 | 1 | Interior fins Exterior fins Louvers
Daylighting and Views Calculator
Room | Floor Area | Glazing Area | Window Geometry |  | Transmittance (TVIS) |  | Window Height | Daylight Factor |  | Daylit Area | Views | Glare Control
| [SF] | [SF] | Type | Factor | Actual | Min | Factor | Each | Room | [SF] | [SF]
1 |  | 0 | Daylight | 0.1 |  | 0.4 | 1 | #DIV/0! | #DIV/0! | #DIV/0!
|  | 0 | Horizontal | 0.5 |  | 0.4 | 1 | #DIV/0!
|  | 0 | Horizontal | 0.5 |  | 0.4 | 1 | #DIV/0!
2 |  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0! | #DIV/0! | #DIV/0!
|  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0!
|  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0!
3 |  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0! | #DIV/0! | #DIV/0!
|  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0!
|  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0!
4 |  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0! | #DIV/0! | #DIV/0!
|  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0!
|  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0!
5 |  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0! | #DIV/0! | #DIV/0!
|  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0!
|  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0!
6 |  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0! | #DIV/0! | #DIV/0!
|  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0!
|  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0!
7 |  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0! | #DIV/0! | #DIV/0!
|  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0!
|  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0!
8 |  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0! | #DIV/0! | #DIV/0!
|  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0!
|  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0!
9 |  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0! | #DIV/0! | #DIV/0!
|  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0!
|  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0!
10 |  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0! | #DIV/0! | #DIV/0!
|  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0!
|  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0!
11 |  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0! | #DIV/0! | #DIV/0!
|  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0!
|  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0!
12 |  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0! | #DIV/0! | #DIV/0!
|  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0!
|  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0!
13 |  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0! | #DIV/0! | #DIV/0!
|  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0!
|  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0!
14 |  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0! | #DIV/0! | #DIV/0!
|  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0!
|  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0!
15 |  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0! | #DIV/0! | #DIV/0!
|  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0!
|  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0!
16 |  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0! | #DIV/0! | #DIV/0!
|  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0!
|  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0!
17 |  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0! | #DIV/0! | #DIV/0!
|  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0!
|  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0!
18 |  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0! | #DIV/0! | #DIV/0!
|  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0!
|  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0!
19 |  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0! | #DIV/0! | #DIV/0!
|  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0!
|  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0!
20 |  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0! | #DIV/0! | #DIV/0!
|  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0!
|  | 0 | horizontal | 0.5 |  | 0.4 | 1 | #DIV/0!
TOTAL | 0 | [8 empty] | #DIV/0! | 0
Daylight Factor | [9 empty] | #DIV/0!
Percentage of Area with Sufficient Views | [9 empty] | #DIV/0!
| Geometry | Min Tvis | Height
Daylight | 0.1 | 0.7 | 1.4
Vision | 0.1 | 0.4 | 0.8
Vertical | 0.2 | 0.4 | 1
Sawtooth | 0.33 | 0.4 | 1
Horizontal | 0.5 | 0.4 | 1