SECTION 01 79 21

Demonstration and Training

PART 1 - GENERAL: not used

PART 2 - PRODUCTS: not used

PART 3 - EXECUTION

3.01		Equipment Start-up / Commissioning

A.	Conduct demonstration and instruction as soon as practicable upon installations, and prior to Substantial Completion inspection.  Substantial Completion shall not be certified, nor shall Owner be required to assume responsibility for operating, maintaining, or insuring system, prior to complete demonstration and instruction.

B.	Demonstrate operation of newly provided equipment and systems to Designer and to Owner's representative.  Instruct Owner's personnel in operation, adjustment, and maintenance of equipment and systems, using the operating and maintenance data as the basis of instruction.

C.	Make lists of persons witnessing equipment and systems demonstration, and persons receiving operating instruction, using a format similar to the form included in Section 01 79 25 with project, subject, trainer, session information, and attendees identified.  Include copy of lists in the Operating and Maintenance Data Binders.

END OF SECTION