## Sensor Point Calib
SECTION 23 08 13
SENSOR POINT CALIBRATION CHECK SHEET
| Owner's Project Number: | 166/ |  |  |  | Page | of
| Institution or Campus: |  |  |  |  | Date:
Building: | [5 empty] | Tests
Installer: | [5 empty] | run by:
System/Unit Identifier:
Location:
List all sensors associated with this system or unit and verify the calibration, set point and location.
Sensor Description |  |  | Location | BAS Reading |  | Field | Action
|  |  | Satisfactory |  |  | Measurment | Required
|  |  | ( Y/N ) | Set Point | Value | Value
NOTES: