## Perf Test VAV Check
SECTION 23 08 16
TERMINAL BOX POINT CALIBRATION CHECK SHEET
| Owner's Project Number: | 166/ | [6 empty] | Page |  | of
| Institution or Campus: | [7 empty] | Date:
Building: | [8 empty] | Tests
Installer: | [8 empty] | run by:
System/Unit Identifier:
Location:
List all terminal boxes associated with this system or unit and verify thermostat calibration and
sequence of reheat coil hot water control valve and therminal box response to thermostat command
Terminal | Design Airflow |  | BAS / Thermostat / Airflow Data | [5 empty] | BAS DAT sensor |  | HW Valve Pesponse
Box # | ( cfm ) |  | Set Point |  | Reading |  | Actual |  | Value F |  | Value F
| MIN | MAX | F | cfm | F | cfm | F | cfm | Reading | Actual | Cooling | Heating